## Slide 1: Using OpenStack In A Traditional Hosting Environment
Jun Park (Ph.D.), Sr. Systems Architect
Mike Wilson, Sr. Systems Architect
EIG/Bluehost
OpenStack Summit 2013
Notes: Love!
30 mins talk + 10 mins qna  during the main talk we have short answers, have longer answers in qna. May have off-line chats for more details.
Take a quick poll: How many people with openstack and cloudstack?
Time: Tell our story… main tasks remaining …

## Slide 2
Scale @10x what we were in about a year’s time
Needed a system to manage it all
Provisioning these systems had to be automated
System had to scale to multiple data centers
Btw, we have 2 months to come up with this

## Slide 3: High level requirements
Centralized management, horizontal scalability.
Abstractions for physical and logical deployments of devices and resources.
Open-source project with lots of support and momentum
Typical Cloud features (migration, imaging, provisioning, etc.)
Easy transition into future cloud offering with support for industry standard APIs
=
OpenStack!
Notes: Quick poll, how many nodes?

## Slide 4: Bluehost Environment
Scale
  More than 10,000 physical
  servers
  Adding hundreds of nodes
  per day
Network
  Public network directly attached to VMs
  Plan on adding private network later
OpenStack/Folsom Components
  Nova (compute, api, scheduler)
  Quantum (network)
  AMQP: Qpid (messaging)
  Mysql (db)
Notes: Quick poll : how many nodes?

## Slide 5: Outline
Scalability/Stability
Rethink Quantum Network
Operational Issues
Wrap-up/Conclusions

## Slide 6: Why Difficult To Scale up?
Components that don’t scale
  Messaging system
  Mysql server
  Heavy APIs
Hard to Diagnose
  No simulator/emulator for high scalability testing
  No quantitative guide as to how to scale up
  No detailed error message or even not at all
  Requires detailed knowledge of codebase
Look at that line!

## Slide 7: Nova Enhancements
Monitoring/troubleshooting
  Added service ping (similar to grizzly)
  Additional task_states
  Better errors to instance_faults
Functionality
  Added LVM resize and injection
  Added stop_soft and stop_hard similar to reboot
Stability/Scalability
  Some bug fixes to OVS VIF driver
  Added custom scheduler

## Slide 8: MySQL/Innodb Concurrency
Nova behavior
  Direct connection to DB (addressed in grizzly though)
  Too MANY queries; much more read than write
  Some queries often return huge number of results
  Periodicity of loads due to periodic tasks
Mysql behavior
  innodb_thread_concurrency = num of threads that can execute queries in the queue
  innodb_concurrency_tickets = number of rows you can return before requeue (default 500!)
  With default settings your mysql server will fall over with a few thousand compute nodes

## Slide 9
So the answer is just increase concurrency and tickets right?
Sadly, no.
Tuning concurrency and tickets is a must! But we still requeue.
We don’t know why, but we have a workaround.
Our workaround:
Send most read queries to a cluster of mysql slaves.
I say most because many queries would be sensitive to possible slave replication lag

## Slide 10: Messaging System
Qpid Chosen
  Speed and easy cluster ability
  Incredibly unstable at large scale (Even at small scale)
  Possibly poorly configured
  Older release in CentOS6
Problem
  Broker bottleneck
  Unnecessarily complex
Recommendation
  AVOID BROKER!
  ZeroMQ as replacement

## Slide 11: BlueHost OpenStack
Server Farm
> 10,000 physical servers
Group of Controllers
Nova-api
Nova-scheduler
Quantum-server
Keystone
Read-only mysql slave
Read-only mysql slave
Read-only mysql slaves
mysql master
Qpid servers
Load Balanced
Host
BH-enhanced Nova-compute
BH-enhanced OVS Quantum Plugin

## Slide 12: Rethink Quantum Network
Problem
  Quantum API only for DB; no efficient API for Nova
  No API-around design for actual network objects
  Premature OpenvSwitch
  (OVS) quantum plugin
Our approach
  Adding intelligence to OVS plugin
  Optimizing API
    E.g., get_instance_nw_info() in nova; Python-level join operation
  Expand current implicit communication with nova-compute (although not ideal)
Notes:   LOVE!!!
  Just a small step for us to try to help community and share what we’ve done.

## Slide 13: OpenvSwitch (OVS)
Support
  OpenFlow 1.0 (1.2, 1.3 in experiment)
  Various Hypervisors including KVM
  Merged into main stream since Linux 3.3
Functionality
  Filtering rules and associated actions
    E.g., anti-IP spoofing, DMAC filtering
  Replacement or superset of ebtables/iptables/linuxbridge
  QoS or Linux traffic control (TC)
  Various third party controllers for full-fledged OF functionality
Notes: Quick poll: how many people know about OVS plugin? How many people use OVS in production?

## Slide 14: Quantum With Nova-Compute
Controller
Host
Quantum-server
Quantum-agent
Nova-compute
Quantum DB
Nova-api server
2. Call quantum-api to create port
4. Create OVS tap
5. Set up external-ids on tap
1. Monitor any change of external-ids of the existing taps
1. Nova boot API
3. Modify external-ids on tap & setup OVS flows
2. Call quantum-api to get port info
3. Create port in DB
Why nova-compute
still create tap?
6. Do the rest of steps for creating a new VM
Implicit communication
with nova-compute
Notes: The main motivation of quantum network is to pull out network functionality from nova-compute as much as possible. Because of this, nova-compute still needs to know all the details of OVS. No code reuse, confusing, and causing inconsistency, succinct failures when VMs do not have network connectivity.
With some garbled taps, quantum-agent thinks it needs to do something even for them.

## Slide 15: BH-Enhanced OVS Quantum Plugin
Idiosyncratic Requirements
  Focus on a Zone; plan on addressing multiple-datacenters issue
  Direct public IP using flat shared provider network with No NAT
  Still required to be isolated while allowing intra-traffic among VMs
Our Approach
  Developing “Distributed OpenFlow controller” using OVS plugin
  Either no-tag or 24bit ID (e.g., QinQ, VxLAN, GRE), but NO VLAN
  Caveats: Neither API-around approach nor Virtual Appliance
New Features
  Anti-IP/ARP spoofing OF flows
  Multiple-IPs per public port
  Network bandwidth throttling (QoS)
  Optimal Intra-traffic flows
Notes: Let me introduce our BH-enhanced OVS plugin.
NO NAT, WHY? Avoid single point of failure, easy to diagnose, meet some specific software requirement such as cPanel.

## Slide 16: BH-Enhanced OVS Quantum Plugin
br-int
tap1
tap2
br-int-eth0
br-eth0
phy-br-eth0
eth0
pair of veth
DMAC matching for incoming packets
TPA matching in ARP query
Anti-IP spoofing: SRC IP matching for outgoing packets
VM1
VM2
Public Networks
Deploy QoS for outgoing packets
10 Mbps
50 Mbps
Int-loopback
phy-loopback
pair of veth
DMAC matching for internal traffic to VMs
DMAC matching for internal traffic to VMs
Tag=1 (MTU size bug)
Tag=2
Notes: Vlan tagging
 No tag or double-tag or VxLAN whatever…
Avoiding O(n^2) solution….

## Slide 17: Operational Issues
Reboot hosts
  Problem
    Circular dependencies between libvirtd and nova-compute
    OVS bug, allows to add non-existing tap interfaces
  Solution
    A simple workaround to restart services in rc.local
Restart services
  Problem
    Quantum recreates taps, resulting in network hiccups
  Solution
    Check out existing taps, no touch when unnecessary

## Slide 18: Operational Issues
Monitor Health
  Problem
    Hard to track down
  Solution
    Adding health check APIs
XML customization
  Problem
    No way to modify XML on the fly
    Not even allowed for static customization
  Solution
    Add more parameters

## Slide 19: Wrap-up/Conclusions

## Slide 20: Problem vs. Solution
Problem
Solution
Monitoring/troubleshooting
Service ping, task_states, etc.
Nova
No LVM
Overloaded scheduler
Add LVM driver
Custom scheduler
OVS VIF driver issue
Mysql
Fix bugs
Overloaded
Read-only Mysql slave server
Innodb issue
Optimized confs
Qpid
Instability issue
Clustered qpid
Future plan
No broker, ZeroMQ
Quantum
Heavy API
Optimized API
Premature OVS plugin
Add features (Anti-IP, No-tag flows, QoS)
Operations
Reboot, restart of services
Simple workarounds
XML
XML customization (cpu custom)

## Slide 21: For True OpenStack Success
Scalability
 Scalable Messaging System & DB Infra
Networks
 Good Networks Abstraction
So … We don’t do live demo until …
Notes: Let’s get this straightened out!
Structurally means most distributed structure among all other cloud platforms.

## Slide 22
We’re sorry, we haven’t had time to contribute a whole lot YET. But here’s some code:
https://github.com/upoopoo for BH nova
https://github.com/JunPark for BH Quantum (as in live production)
Browse the branches, many have to do with features discussed today